## Slide 1
Drivers for Indirect Potable Reuse

## Slide 2: Drivers for Reuse
Principal driver is water stress (need for water)
Scarcity of renewable freshwater resources due to:
  Population increases
  Industrial development
  Droughts
  Global climate changes

## Slide 3: Drivers for Reuse
Other drivers include:
  Conservation of potable supply
  Environmental enhancement
  Pollution abatement
  Reliability of supply
  High cost of alternative sources of water
  Regulatory policies/regulations

## Slide 4: MWD Water Rates Rise When Sales Fall
85% Increase
75% Increase
19.7% Increase

## Slide 5: Cost of Imported Water to San Diego - Nearly Double by 2018
Chart: Projected Cost of Imported Treated Water per Acre-Foot
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018
Cost of Imported Water per Acre-Foot | 905 | 1063 | 1185 | 1329 | 1416 | 1516 | 1587 | 1660 | 1757

## Slide 6: Immediate Response is Conservation

## Slide 7
Short/Intermediate Term Response is Non-potable Reuse

## Slide 8
Short/Intermediate Response is Indirect Potable Reuse

## Slide 9
Long Term Response is Direct Potable Reuse

## Slide 10
Predictions
( the next 25 years)

## Slide 11: #1 – Technology Advances will decrease $ and eventually allow direct potable reuse
Reverse osmosis (RO) to be replaced by NanoElectrolyticOsmosis (NEO)
Genetic engineering will develop high-rate digestion bacteria that will more efficiently convert biosolids to fuel
Real-time monitoring of all water quality constituents will be developed and approved by regulatory agencies

## Slide 12: #2 – Full integration of resource management into reuse planning
Interim Step is from Bolt-On Approach
To Liquid Process Integration
Ultraviolet Light with H2O2
Brine
OCSD Outfall
Backwash
OCSD Plant 1
Microfiltration
(MF)
Reverse Osmosis
(RO)
Barrier
MBR
RO/UV
Pretreat

## Slide 13: #3 – Full integration of resource management into reuse planning
Total Urban Resource Recovery Systems
Urban food waste Septage Misc. organics
Methane
Optimized Anaerobic Digester
Electricity
Efficient Electricity Generation
CO2
Algae Conversion to Biodiesel
Biodiesel
Final Filter
Nutrient Removal and Recovery
Inorganic Fertilizer
Low Energy Membrane for BOD and TDS removal
Primary Clarification or Filtration
Sewage
Primary
Revenue
Sources:
Water & Energy
Secondary
Revenue
Sources:
Biofuel, Fertilizer & Carbon Credits

## Slide 14: #4 – The nexus between water and energy and the public response to climate change will impact how we view the cost of water
We will be billed not by the units of water we used, but by the carbon footprint that is created by developing the water supply
For example, groundwater will have low carbon foot print while desalination will be high

## Slide 15: #5 – The pace of reuse development will be relatively slow unless…..
“You never let a serious crisis go to waste. And what I mean by that it's an opportunity to do things you think you could not do before”.
Rahm Emmanual
Crisis is Opportunity

## Slide 16: Past Lessons are Present Lessons are Future Lessons
VISION
POLITICAL
WILL
GRANTSMEN-
SHIP
INNOVATION
PARTNERSHIP
LEADERSHIP
Keys to
Reuse Success

## Slide 17
History of Advocacy
(the last 25 years)

## Slide 18: Advocacy Groups can Address Non-Technical Barriers to Indirect Potable Water Reuse
Public/user perception and cultural issues – “Toilet to Tap Syndrome”
Better documentation of economics of water reuse
Support by local authorities/policy makers
Project funding

## Slide 19: New Players Advocating for Reuse
1984
Surfriders
1985
Heal the Bay
Stop discharge into Bay
1990
WateReuse Association
Promote reuse
Protect Oceans

## Slide 20: New Players Advocating for Reuse
1991
NWRI
1992
Bureau of Reclamation
Fund Reuse (Title XVI)
1999
Coastkeeper Alliance
Promote healthy coast
Promote Water Supply

## Slide 21: San Diego IPR Coalition (broad based advocacy)
Insert graphic with IPR Coalition logos and tell the story